## Luminescence 1_01
Measurement results
LucProtocol (5).skax
4/25/2026 4:49:46 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 324.1 | 956.6 | 1336 | 466.7 | 435.5 | 146.4 | 180.1 | 173.7 | 179.2 | 667.9 | 766.9 | 2284
B | 6898 | 134800000 | 136600000 | 30780000 | 29990000 | 271600 | 262800 | 3170000 | 2925000 | 89570000 | 68200000 | 245200000
C | 10070 | 225900000 | 206100000 | 512400 | 668500 | 30200 | 11560 | 36880000 | 35960000 | 129300000 | 124400000 | 254100000
D | 1113 | 153000000 | 153600000 | 170500000 | 148500000 | 1737000 | 2264000 | 822300 | 396100 | 7577000 | 6726000 | 53710000
E | 292.5 | 7308000 | 6589000 | 12950 | 11530 | 9662 | 12970 | 16180 | 15680 | 6862 | 6752 | 50550000
F | 609.9 | 49330000 | 55060000 | 42500000 | 36490000 | 1924000 | 2355000 | 23790000 | 38180000 | 18610 | 15930 | 91790000
G | 986.9 | 217400000 | 224100000 | 380200000 | 374000000 | 488400000 | 548500000 | 8789 | 7710 | 4411 | 5828 | 128600000
H | 90.12 | 472 | 799.3 | 1008 | 933.6 | 1345 | 1372 | 158.9 | 123.9 | 113.6 | 77.21 | 553.3
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
Autoloading range A1 - M28

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | LucProtocol (5).skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 4/25/2026 4:49:46 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Set temperature |  | 37.00 °C
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 4/25/2026 4:49:46 PM | Session LucProtocol (5).skax started
| 4/25/2026 4:49:46 PM | Temperature | 36.9°C
| 4/25/2026 4:49:46 PM | Step Luminescence 1 started
| 4/25/2026 4:49:51 PM | Temperature | 37.0°C
| 4/25/2026 4:49:54 PM | Calibration | Luminometric 1.5535 78792
| 4/25/2026 4:50:51 PM | Temperature | 37.0°C
| 4/25/2026 4:51:51 PM | Temperature | 37.0°C
| 4/25/2026 4:52:06 PM | Step Luminescence 1 ended
| 4/25/2026 4:52:06 PM | Temperature | 37.0°C
| 4/25/2026 4:52:17 PM | Session LucProtocol (5).skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1