## Luminescence 1_01
Measurement results
LucProtocol (2).skax
4/25/2026 4:40:57 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 15.04 | 51.12 | 103.3 | 41.8 | 99.9 | 177.2 | 91.11 | 58.01 | 92.36 | 134 | 257.5 | 2706
B | 2954 | 340900 | 198900 | 32130 | 29730 | 3207 | 3201 | 6676 | 14960 | 83410 | 110800 | 349100000
C | 2776 | 10830 | 22420 | 4728 | 4274 | 3441 | 3128 | 210600 | 138300 | 1816000 | 2293000 | 405800000
D | 111.5 | 1541000 | 1486000 | 1865000 | 1652000 | 17160 | 18150 | 13760 | 23680 | 726300 | 658000 | 4546000
E | 134.4 | 17830 | 8955 | 4520 | 3988 | 4382 | 3939 | 7175 | 7279 | 3782 | 4760 | 4465000
F | 106.8 | 2706000 | 2079000 | 943200 | 1177000 | 184100 | 161500 | 2139000 | 2223000 | 9472 | 9852 | 205100
G | 15.82 | 541700 | 458800 | 2255000 | 2207000 | 429900 | 336800 | 3490 | 3504 | 2861 | 2419 | 143000
H | -4.139 | 78.79 | -10.85 | 43.84 | -1.297 | 64.19 | 48.93 | 37.01 | 94.5 | 31.18 | 41.62 | -3.883
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
Autoloading range A1 - M28

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | LucProtocol (2).skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 4/25/2026 4:40:57 PM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Set temperature |  | 37.00 °C
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 4/25/2026 4:40:57 PM | Session LucProtocol (2).skax started
| 4/25/2026 4:40:57 PM | Temperature | 31.4°C
| 4/25/2026 4:40:57 PM | Step Luminescence 1 started
| 4/25/2026 4:41:04 PM | Calibration | Luminometric 1.52677 25855
| 4/25/2026 4:41:51 PM | Temperature | 33.6°C
| 4/25/2026 4:42:51 PM | Temperature | 35.8°C
| 4/25/2026 4:43:08 PM | Step Luminescence 1 ended
| 4/25/2026 4:43:08 PM | Temperature | 36.4°C
| 4/25/2026 4:43:18 PM | Session LucProtocol (2).skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1