## Luminescence 1_01
Measurement results
LucProtocol (11).skax
4/9/2026 9:49:03 AM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 14.36 | 72.73 | 18.13 | 30.41 | 18.8 | 110.7 | 169.7 | 261.6 | 215.3 | 380.2 | 285.4 | 83.18
B | 64.77 | 27430 | 42320 | 115800 | 409500 | 23560000 | 21590000 | 34970000 | 48060000 | 68520000 | 62520000 | 178.9
C | 89.91 | 10710000 | 9136000 | 16560000 | 20530000 | 24680000 | 23300000 | 31030000 | 36280000 | 39320000 | 35540000 | 201.7
D | 105.3 | 591000 | 509200 | 157500 | 219600 | 13060000 | 13210000 | 17580000 | 26110000 | 46380000 | 45180000 | 290.7
E | 551.9 | 58870000 | 48450000 | 88850000 | 62450000 | 35940000 | 32520000 | 45210000 | 56760000 | 113000000 | 109500000 | 442.4
F | 385.3 | 54790000 | 43330000 | 60950000 | 66860000 | 61580000 | 62540000 | 27340000 | 37920000 | 112500000 | 111100000 | 442.7
G | 306.5 | 59380000 | 39840000 | 120500000 | 120800000 | 98520000 | 109200000 | 84200000 | 85260000 | 2309 | 2253 | 118.5
H | 29.64 | 299.7 | 350.1 | 521.6 | 547.2 | 260.6 | 317.5 | 619 | 482 | 138.6 | 51.93 | 42.37
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
Autoloading range A1 - M28

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | LucProtocol (11).skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 4/9/2026 9:49:03 AM

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Set temperature |  | 37.00 °C
| Optical response compensation |  | Yes
| Serial number |  | 3020-83508
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2421801
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 4/9/2026 9:49:03 AM | Session LucProtocol (11).skax started
| 4/9/2026 9:49:03 AM | Temperature | 37.0°C
| 4/9/2026 9:49:03 AM | Step Luminescence 1 started
| 4/9/2026 9:49:11 AM | Calibration | Luminometric 1.53404 677108
| 4/9/2026 9:49:23 AM | Temperature | 37.0°C
| 4/9/2026 9:50:23 AM | Temperature | 37.0°C
| 4/9/2026 9:51:18 AM | Step Luminescence 1 ended
| 4/9/2026 9:51:18 AM | Temperature | 37.0°C
| 4/9/2026 9:51:23 AM | Temperature | 37.0°C
| 4/9/2026 9:51:29 AM | Session LucProtocol (11).skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0002 | Un0003 | Un0004 | Un0005 | Un0006 | Un0007 | Un0008 | Un0009 | Un0010 | Un0011 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0013 | Un0014 | Un0015 | Un0016 | Un0017 | Un0018 | Un0019 | Un0020 | Un0021 | Un0022 | Un0023 | Un0024
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0025 | Un0026 | Un0027 | Un0028 | Un0029 | Un0030 | Un0031 | Un0032 | Un0033 | Un0034 | Un0035 | Un0036
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0037 | Un0038 | Un0039 | Un0040 | Un0041 | Un0042 | Un0043 | Un0044 | Un0045 | Un0046 | Un0047 | Un0048
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0049 | Un0050 | Un0051 | Un0052 | Un0053 | Un0054 | Un0055 | Un0056 | Un0057 | Un0058 | Un0059 | Un0060
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0061 | Un0062 | Un0063 | Un0064 | Un0065 | Un0066 | Un0067 | Un0068 | Un0069 | Un0070 | Un0071 | Un0072
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0073 | Un0074 | Un0075 | Un0076 | Un0077 | Un0078 | Un0079 | Un0080 | Un0081 | Un0082 | Un0083 | Un0084
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Un0085 | Un0086 | Un0087 | Un0088 | Un0089 | Un0090 | Un0091 | Un0092 | Un0093 | Un0094 | Un0095 | Un0096
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1